Kieran Deane-Alder
Medsci736 Final Report

Abstract (157 words)

Metabolomics is the analysis of all metabolites produced by a cell, tissue, organ, or even whole organism (the 'metabolome'). As an emerging science, is explicitly concerned with the analyis of large datasets. The instrumentation used to isolate and identify metabolites – gas (GC-MS) or liquid chromatography (LC-MS) mass spectrometry – produces relative, rather than absolute, measurements. This necessitates the use of specialised software, including custom R scripts, for normalising data and drawing appropriate statistical inferences.

It is also critical to employ good experimental practice in metabolomics. If equipment noise is to be corrected for, samples must ordinarily be randomised so that assumptions about the distribution in the statistical models used for these corrections are met. Unfortunately, randomisation is sometimes overlooked in experimental design. Thus, NoRAND was created.

NOvel R script for the Analysis of Non-randomised Data (NoRAND) attempts to "rescue" data obtained for samples that were not randomised. It compares the output of three correctional models to allow the user to make informed decisions about the quality of the data. NoRAND is available from its official GitHub repository, https://github.com/kdea020/metabolomics-project.

Keywords:
Metabolomics, parametric testing, sampling errors, linear regression

How to cite: Deane-Alder, K. (2016). NoRAND: Novel R script for the Analysis of Non-randomised Data. Journal of Open Research Software. Issue(Volume), pp. DOI.

1) OVERVIEW

Introduction

Data randomisation is a critical component

NoRAND comes with a set of example data to demonstrate the use and purpose of the program. This dataset is anonymised for subject names and includes a panel of 47 compounds. The data were obtained by GC-MS analysis of hair samples and have been normalised to biomass and D4-Alanine, an internal standard. This dataset has a few serious issues that NoRAND has been designed to correct: first and formost, the samples were not randomised (i.e. measured or obtained in a random order).

Statistical methods and algorithms

Linear regression

The linear regression model in NoRAND employs R's default linear model function. This uses the algorithm [BLAH] .

Stairstep method

The stairstep method requires the user to modify (A FUNCTION) in order to manually specify where a break in measurements might have occured. Instructions on how to do this can be found in the ReadMe.md file in the NoRAND GitHub repository.

Covariate model

The covariate model attempts to remove the influence of equipment drift

P-value reporting
The p-values reported in NoRAND's final model summary are generated by the R linear model function and obtained from same.

Q-value reporting
The q-value produced by NoRAND uses the BioConductor qvalue package, employing a version of the Benjamini-Hochburg method (CITE 1997 paper) to estimate the false discovery rate. This is intended to enable users to make inferences about the quality of the p-values reported by each of the three correctional models. The function can be adjusted to produce other q-values by other methods (instructions for this may be found in the ReadMe file accompanying NoRAND).

Implementation and architecture
NoRAND consists of several R scripts, each of which contains themed functions. These handle user input and file selection, produce plots of the data, and output interpretive statistics for each of the three correctional models.

Critically, NoRAND is designed to operate on normalised metabolomics data and and does not perform normalisation itself. Despite this, NoRAND has been tested with raw datasets and produced results comparable in quality to those from normalised data; however, this use is not recommended.

Quality control
The R functions were made under R version 3.3.1 ("Bug In Your Hair"), and the scripts built using RStudio in Ubuntu 16.04 (kernel 4.4.0-36-generic). NoRAND has been verified to load and run correctly on Mac OSX (ver. 10.x.x or above), Windows 7/8/10, and Ubuntu 16.04 (kernel 4.4.0-36-generic). Other operating systems and linux distributions have not been tested, but are highly likely to work as long as the latest version of R is correctly installed.

NoRAND also includes a series of tests in the file TESTING.R that run automatically with the program. These test the input and output for all novel functions and will report descriptive error messages if these do not match the expected output. Correct functioning of NoRAND may be verified by running with the example data.

2) AVAILABILITY

Operating system
R scripts: Windows 7/8/10, Mac (OSX ver. 10.x.x or above), Linux (kernel 4.4.0-36-generic).

Programming language
C and R (R functions).

Additional system requirements
None.

Dependencies
The R scripts require installation of R (http://cran.r-project.org/).
TESTING.R requires a package for testing functions, testthat, kindly created by H. Wickham. (LINK).
The statistical functions are dependent on the BioConductor qvalue package in order to report q-values (LINK).

Software location
Archive
Name

R scripts: GitHub

Persistent identifier

R scripts: https://github.com/kdea020/metabolomics-project

License

CC-BY-4.0

Publisher

Kieran Deane-Alder

Date published

27/10/16

Language

English.

3) REUSE POTENTIAL
While NoRAND was designed to analyse data obtained from metabolomics studies using GC-MS instrumentation, it should also function appropriately without alteration for LC-MS data. Additionally, the statistical models employed are relatively simple and make few assumptions about the nature of the data. Therefore, NoRAND could foreseeably be easily modified to analyse other large datasets, such as those obtained from proteomics studies. Thus, NoRAND has reuse potential beyond metabolomics.

Competing interests
The author declares that he has no competing interests.

References

in Harvard – square brackets

[1]

- Use template from J. Open. Res. Software
- You are sole author for purposes of submission.

Go to the journal and have a look at a paper similar to mine.

Overview section
- Allows you to place software in context of field.
- Why write the code to do the analysis?
- Lit review and comparison of other approaches to solve the problem.
- Why is my approach better?

Describe software in plain English, with examples of input and output.
What happens when you vary functions? Walk the user through how the software works.
(Like a Knitr notebook).
Describe, at each step, what you would do to test that the code is working correctly.

Re-use potential? "Who can use this code?" And what elements in the code would need to be changed to achieve re-use?

Will also need separate documentation (and licensing details).

Final assignment consists of:
- Paper
- Functioning software (on GitHub)
- Tests (must link to them in the paper)
- Comprehensive documentation on the use of the software